IMPERIAL COLLEGE LONDON

Risk Assessment Template

| 1. PERSON CARRYING OUT ASSESSMENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name |  | Evan Hammerstein |  |  | Position | BME UG Student |  |  |  | Date | 16/02/2025 |  |  |  |
| 2. DESCRIPTION OF ACTIVITY (include storage, transport and disposal if relevant) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Building 2 Small (1.5mm diameter) fluidics systems using Syringe Pumps, Valves. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. LOCATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Campus |  | South Kensington |  |  | Building | Bessemer |  |  |  | Room | B105 |  |  |  |
| 4. HAZARD SUMMARY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Accessibility |  |  | N/A |  |  |  |  | Mechanical |  |  | Assembly is done by hand, little to no risk. |  |  |  |
| Manual Handling |  |  | Heavy Syringe Pumps may be dropped if being moved. |  |  |  |  | Hazardous Substances |  |  | PBS/Glucose solution and GelMA Hydrogels contain Ruthenium and SPS, should not be ingested. |  |  |  |
| Electrical |  |  | Syringe Pumps and Valves (electrical components) are sufficiently insulated from the fluidics system and do not present notable risk. |  |  |  |  | Noise |  |  | N/A |  |  |  |
| Working at height |  |  | N/A |  |  |  |  | Extreme temperature |  |  | N/A |  |  |  |
| Falling objects |  |  | See “Manual Handling” above. |  |  |  |  | Pressure/steam |  |  | Working at very low pressure. |  |  |  |
| Trip hazards |  |  | The rigs will be bench height and secured in place. |  |  |  |  | Other |  |  | N/A |  |  |  |
| Lone Working Permitted? |  |  | Yes No |  |  |  |  | Permit-to-Work required for planned maintenance? |  |  | Yes No N/A |  |  |  |
| 5. Who might be harmed and how? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Staff / students |  |  | N/A |  |  |  |  | Cleaners, engineers etc |  |  | N/A |  |  |  |
| Support staff |  |  | N/A |  |  |  |  | Other |  |  | N/A |  |  |  |
| 6. How often is the process being carried out? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Lab may see daily usage at times for the remainder of the 2024-2025 school year. Likely 2-3 times a week. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. Brief description of the procedure |  |  |  |  |  | Existing precautions (Controls) |  |  |  |  |  | Is risk high, medium or low? |  |  |
| Assembly |  |  |  |  |  | Hand assembly includes some extremely basic wiring. All wiring will be done while power is not connected. |  |  |  |  |  | Low |  |  |
| Use |  |  |  |  |  | Fluids will move through the system at a very low velocity, volume, and pressure through tubing and reliably insulated electrical components. Waste will be managed in beakers to not spill. |  |  |  |  |  | Low |  |  |
| Moving/unpacking items of equipment. Placing items in storage after use. |  |  |  |  |  | Equipment will be stored elsewhere. Apart from the syringe pumps, the rig is very light. Proper care will be taken in transporting the syringe pumps. |  |  |  |  |  | Low |  |  |
| 8. Are extra precautions needed? If no please tick box and move onto next section - NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. EMERGENCY ACTIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Upon any high pressure or electrical failure, shut power off to the syringe pump, as this will stop the entire system. Fluid used is non-toxic, can be wiped up easily if the situation arises. |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. Monitor and review |  |  |  |  |  |  |  |  |  |  |  |  |
| Director or safety nominee, will review this risk assessment at least every 12 months and Immediately in the event of process / location change or incident or accident Name: Evan Hammerstein Date: 16/02/2025 Other users: Boyang Li, Linda Schermeier, Tianrui Yue, Russell Guo, Noah Weiler Date: 16/02/2025 |  |  |  |  |  |  |  |  |  |  |  |  |